## Slide 3
FR2 – Use Control
FR3 – System Integrity
FR6 – Timely response to event
FR5 – Restrict Data Flow
FR7 – Resource Availability
FR4 – Data Confidentiality
FR1 – Identification, authentication and access control

## Slide 4
FR2 – Use Control
FR3 – System Integrity
FR6 – Timely response to event
FR5 – Restrict Data Flow
FR7 – Resource Availability
FR4 – Data Confidentiality
FR1 – Identification, authentication and access control

## Slide 5
FR1 – Identification,
authentication and access
control

## Slide 6
FR1 – Identification, authentication and access control
Attribute-Based Access Control (ABAC)
Role-Based Access Control (RBAC)
Physical Access Control
Mandatory Access Control
Break Glass Access Control
Discretionary Access Control (DAC)
Rule-Based Access Control

## Slide 7
This lesson covered ICS cybersecurity foundational requirements based on IEC 62443 standard.
Seven key requirements were discussed: identification, authentication, system integrity, data confidentiality, restricted data flow, event response, and resource availability.
Access control types including ABAC, RBAC, DAC, and more were explained.
This knowledge aids in designing secure systems for industrial control environments.
Wrap
Up